## Energy meters
Energy Meters
Location |  | MCCB | CT | Modbus Address | Coverter IP
P1 | PR | 400A, 3P | 400/5 | 3 | 192.168.1.119 | Wattz- Multifunctional energy meter
| BM Section 1 -ST/TH/MD/TR | 630A, 3P | 800/5 | 2 |  | Wattz- Multifunctional energy meter
| BM Section 2 -Vacuum/VAT/CON | 400A, 3P | 250/5 | 1 |  | Wattz- Multifunctional energy meter
| STR/COMPRE | 400A, 3P | 400/5 | 4 |  | Wattz- Multifunctional energy meter
| GENERATOR | 2000A, 4P | 2000/5 | 5 |  | Wattz- Multifunctional energy meter
| P1 -Main Incoming Energy | 2000A, 4P | 2000/5 | 29 |  | Schneider PM2120
| Compressor 1 | 100A, 3P | 100/5 | 7 | 192.168.1.155 | Wattz- Multifunctional energy meter
| Compressor 2 | 63A, 3P | 100/5 | 10 |  | Wattz- Multifunctional energy meter
| Compressor 3 | 100A, 3P | 100/5 | 8 |  | Wattz- Multifunctional energy meter
| Compressor 4 | 100A, 3P | 100/5 | 9 |  | Wattz- Multifunctional energy meter
| Air Dryer | 80A, 3P | 100/5 | 6 |  | Wattz- Multifunctional energy meter
| STR | 160A, 3P | 200/5 | 11 |  | Wattz- Multifunctional energy meter
P4 | P2-PR | 400A, 3P | 400/5 | 21 | 192.168.1.123 | Circutor CVM-C11
| P1-CELLULOSE | 160A, 4P | 250/5 | 22 |  | Circutor CVM-C11
| OFFICE/WSHOP/CWA | 250A, 4P | 250/5 | 23 |  | Circutor CVM-C11
| P4- BM | 800A, 3P | 800/5 | 24 |  | Circutor CVM-C11
| P4- PR | 630A,3P | 800/5 | 25 |  | Circutor CVM-C11
| P4- STR/TR | 160A, 3P | 200/5 | 12 | 192.168.1.157 | Wattz- Multifunctional energy meter
| P4-SUB SECTION | 400A, 3P | 400/5 | 13 |  | Wattz- Multifunctional energy meter
| P4- BAG OPENER | 250A, 4P | 250/5 | 15 |  | Wattz- Multifunctional energy meter
| STRIP CEILLING PLANT | 400A, 3P | 400/5 | 14 |  | Wattz- Multifunctional energy meter
| P4- ST/TR | 250A, 3P | 250/5 | 16 |  | Wattz- Multifunctional energy meter
| GENERATOR | 1600A, 4P | 2000/5 | 17 | 192.168.1.158 | Wattz- Multifunctional energy meter
| P4 -Main Incoming Energy | 1600A, 4P | 1600/5 | 30 |  | Schneider PM2120
| Compressor 1 | 80A, 3P | 100/5 | 26 | 192.168.1.159 | Circutor CVM-C11
| Compressor 2 | 60A, 3P | 100/5 | 27 |  | Circutor CVM-C11
| Air Dryer | 80A, 3P | 100/5 | 28 |  | Circutor CVM-C11
Canteen | WORKSHOP | 100A, 4P | 100/5 | 18 | 192.168.1.156 | Wattz- Multifunctional energy meter
| CANTEEN | 125A, 3P | 150/5 | 19 |  | Wattz- Multifunctional energy meter
| MAIN OFFICE | 63A, 4P | 100/5 | 20 |  | Wattz- Multifunctional energy meter

## Flow meters
Flow meters
Location |  | Pipe Size | Model | Pump Flow Rate | Material | Modbus Address
P1 | Generator | 1" |  | 33.3 gpm | Diesel
P4 | Generator | 1" |  | Gravity | Diesel